- STANDARD OPERATING PROCEDURE (SOP)

- TITLE: Acquiring images,

- 1. PURPOSE

To provide a standardized procedure for saving, naming and sending image information from Malaria testing protocols.

- 2. SCOPE

This SOP applies to all Medical Laboratory Scientists and Technicians involved in acquiring images with YAMM (Yet Another Malaria Microscope) for Malaria detection in the pilot study ran at Damaturu.

- 3. RESPONSIBILITY

- Laboratory Scientists/Technicians: Data aquisition (focused images), naming and transmission.

- Unit Head/Supervisor: Quality control and compliance

- 4. PRINCIPLE

To be able to track the spread of Malaria, its sazonality and its demographics, we need a curated database with collected samples for cross checking and validation.

This will require the following information:

- Collection date

- Location where sample was collected

- Patient Age

- Patient Gender

- Diagnosis outcome

- If smear maker was used

- And the image itself

- 5. METHOD

- 5.1 Aquiring images at PHCCs

- Once diagnosis is made, use the app function to take a photo. Make sure that the system is configured to the highest possible resolution (this should be the default when you open the app). The photo should be saved directly to your phone gallery. Once the photo has been taken, it can be shared with your supervisor via messaging app (whatsapp).

- If you are using whatsapp, make sure to select the “HD” button before sharing. Once the photo has been shared, send a message with information about the photo, in the following format:

- datewithyearfirst_PHCCID_gender_age_microscopediagnosis_rapidtestdiagnosis_smearmakeruse

- One example below, where on Jan 25th 2026 at Gwange PHCC, a test was made with microscopy, using a smear maker, and RDT was also made. Patient was female, 45 years old

- The filename to be send together with the photo is to your subgroup WhatsApp:

- “20260125_Gwange_F_45_mpositive_rdtnegative_yesmaker”

- 5.2 Transferring images aquired to Gdrive

- At this pilot stage we are adding images to a GoogleDrive folder, to serve as an initial database. For this to happen in a useful way the following steps are responsibility of the group leaders:

- - Check the images that were sent on their subgroups and decide if they agree with the microscopy diagnose made.

- - if they AGREE:

- - Upload the image to the shared GoogleDrive folder and rename the image with the name that was sent as text together with the image in the previous step.

- - if they DISAGREE:

- - give feedback on their subgroup about the image, informing why they disagree. In the case the image is inconclusive, ask if it is possible to make new images.